## Sheet1
COVER SHEET |  | IRC References | COMMENTS
| TITLE BLOCK, INCLUDING DESIGNER CONTACT INFO AND PROJECT DATA | R106.1.1
| CODE REFERENCE, CLIMATIC AND GEOGRAPHIC DESIGN CRITERIA | R301.2
| ZONING CRITERIA INCLUDING SETBACKS AND AREA CALCULATIONS | R106.2
| INDEX OF DRAWINGS | R106.1.1
SITE PLAN |  |  | COMMENTS
| TITLE BLOCK, INCLUDING DESIGNER CONTACT INFO AND PROJECT DATA | R106.1.1
| SCALE | R106.1.1
| NORTH ARROW | R106.2
| LEGAL DESCRIPTION, INCL. LOT, BLOCK, SUBDIVISION | R106.2
| FEMA FLOODPLAIN BOUNDARIES | R322
| PROPERTY BOUNDARY LINES | M1506.3
| METES AND BOUNDS | R106.2
| EXISTING TOPOGRAPHY | R104.10.1 R301.2.1.5
| PROPOSED TOPOGRAPHY | R104.10.1 R301.2.1.5
| EXISTING TREES AND VEGETATION | R106.2
| PUBLIC IMPROVEMENTS (ROADS, CURBS, SIDEWALKS, ETC) | R106.2
| PUBLIC UTILITIES | R106.2
| ON SITE UTILITIES (WELL, SEPTIC, PROPANE TANK, GEOTHERMAL SYS.) | E3604.2.2 P2603.5.1 R322.2.4 P3009
| BUILDING FOOTPRINT | R408.6
| BUILDING PROJECTIONS, INLCUDING EXT. STAIRS, PORCHES, DECKS, CANTILEVERS | R106.2
| LEAD WALKS AND PATHS | R106.2
| RETAINING WALLS | R404.4
| DRIVEWAYS | E3604.2.2
| FLOW LINES | R408.6
| LIMITS OF DISTURBANCE | R408.6
| EROSION CONTROL FEATURES | R403.1.7
FLOOR PLANS |  | Chapter 3 | COMMENTS
| TITLE BLOCK, INCLUDING DESIGNER CONTACT INFO AND PROJECT DATA | R106.1.1
| SCALE | R106.1.1
| DIMENSIONS | R106.1.1
| SECTION AND DETAIL REFERENCES | R106.1.1
| WALL TYPE LEGEND | R106.1.1
| WALL TYPES HATCHED | R106.1.1
| ROOM LABELS | R106.1.1
| DOOR LABELS | R106.1.1
| DOOR SWINGS | R106.1.1
| WINDOW LABELS | R106.1.1
| WINDOW SWINGS, WHERE APPLICABLE | R106.1.1
| EGRESS DOOR | R311.2
| EMERGENCY ESCAPE OPENINGS IN SLEEPING AREAS | R310
| SAFETY GLAZING NOTED AT HAZARDOUS LOCATIONS | R308.3, R308.4
CHANGES TO UNIFORM CEILING SURFACES INCLUDING SKYLIGHTS, FURRED CEILINGS, TRAYS, COFFERS, ATTIC ACCESS, ETC, INDICATED
AT LEAST ONE ASSESSIBLE BATH ON THE FIRST FLOOR
MAJOR KITCHEN FEATURES (OR REF TO PLAN DETAILS)
MAJOR BATHROOM FEATURES (OR REF TO PLAN DETAILS)
MAJOR LAUNDRY FEATURES (OR REF TO PLAN DETAILS)
STAIRWAYS, INCL DIRECTION, TOTAL RISES, CONSISTENT BREAKLINES, HAND & GUARD RAILS; OTHER ASSOCIATED FEATURES
FIREPLACES, INCLUDING TYPE, HEARTH EXTENSION, OTHER ASSOCIATED FEATURES
ROOF PLAN |  | Chapter 8 | COMMENTS
| TITLE BLOCK, INCLUDING DESIGNER CONTACT INFO AND PROJECT DATA | R106.1.1
| SCALE | R106.1.1
| DIMENSIONS | R106.1.1
| SECTION AND DETAIL REFERENCES | R106.1.1
| WALLS REFERENCED BELOW | R106.1.1
| ROOF SEGMENTS LABELED | R106.1.1
| DIRECTION OF FLOW & PITCH OF EACH SEGMENT NOTED | R106.1.1
| OPENINGS/PENETRATIONS INDICATED | R302.4, R802.9
| VENTILATION DESCRIBED | R806.1 - R806.5
| SADDLES/CRICKETS NOTED | R1003.20, R903.4, R903.3
| ICE AND SNOW PROTECTION NOTED | R905.1.1, R905.1.2
ELEVATIONS |  |  | COMMENTS
| TITLE BLOCK, INCLUDING DESIGNER CONTACT INFO AND PROJECT DATA | R106.1.1
| SCALE | R106.1.1
| KEY DATUM DIMENSIONED | R106.1.1
SECTION AND DETAIL REFERENCES
CLADDINGS HATCHED AND LABELED
GUTTERS AND SPOUTING
EXTERIOR STAIRS, PORCHES, STOOPS
^ASSOCIATED HAND AND GUARD RAILS
WINDOW AND DOOR LABELS
SILL HEIGHT<24" AFF: PROTECTION REQUIRED
ROOF SLOPES INDICATED
GRADE LINES, W/ POSITIVE SLOPE AWAY FROM WALLS
CLEARANCE BETWEEN FINISH GRADE AND WOOD ELEMENTS
FOUNDATION INDICATED W/ DASHED LINES
CROSS SECTIONS |  |  | COMMENTS
| TITLE BLOCK, INCLUDING DESIGNER CONTACT INFO AND PROJECT DATA | R106.1.1
SCALE
KEY DATUM DIMENSIONED
ALL MAJOR STRUCTURAL ASSEMBLIES LABELED AND DESCRIBED
ALL CONTINUOUS LOAD PATHS DESCRIBED OR INDICATED
ALL INTERSTITIAL SPACES NOTED (CHIMNEYS, CHASES, FURRED CEILINGS, ETC)
STAIRWAY GEOMETRY (RISE, RUN, HEADROOM, LANDINGS, RAIL HEIGHTS, ETC) DEFINED & DIMENSIONED
ROOF SLOPES INDICATED
PROJECTIONS DIMENSIONED
SECTION DETAIL |  |  | COMMENTS
| TITLE BLOCK, INCLUDING DESIGNER CONTACT INFO AND PROJECT DATA | R106.1.1
SCALE
EACH ELEMENT OF ALL MAJOR STRUCTURAL ASSEMBLIES LABELED AND DESCRIBED
CONNECTIONS BETWEEN STRUCTURAL ELEMENTS DESCRIBED
CONTINUOUS WRB, & FLASHINGS AT EACH EXTERIOR TRANSITION DESCRIBED
INSULATION MATERIALS AND R-VALUES INDICATED
PROJECTION OF FOUNDATION ABOVE GRADE DIMENSIONED
PROJECTION OF FOOTINGS BEYOND FOUNDATION WALLS DIMENSIONED
SOIL BEARING CAPACITY NOTED
FOUNDATION DRAINAGE DESCRIBED
FOUNDATION WALL CAPABLE OF SUPPORTING UNBALANCED FILL
REINFORCEMENT SIZE AND SPACING
FOOTINGS EXTEND BELOW FROST LINE
WOOD ELEMENTS PROTECTED FROM DECAY
FLOOR & ROOF ASSEMBLIES CAPABLE OF SUPPORTING LIVE LOADS
FLOOR & ROOF ASSEMBLIES CAPABLE OF SUPPORTING DEAD LOADS, INCLUDING INTERIOR BEARING WALLS, POINT LOADS, CANTILEVERS, ETC
LATERAL SUPPORT FOR TRUSSES INDICATED
MINIMUM 1 1/2" BEARING FOR FLOOR & ROOF ASSEMBLIES
SLABS SUPPORTED BY SAND OR GRAVEL FILL
VAPOR RETARDER UNDER SLAB
SLAB THICKNESS & REINFORCEMENT DESCRIBED
DECKS AND EXTERIOR FEATURES-CONNECTIONS & FLASHING DESCRIBED
IF CRAWLSPACE: FINISHED GRADE, ACCESS, VENTILATION & VAPOR RETARDER DESCRIBED
FIRE BLOCKING WHERE REQUIRED
ATTIC VENTILATION DESCRIBED; IF NO ATTIC, INCLUDE DESCRIPTION OF PROTECTION AGAINST CONDENSATION IN ROOF CAVITIES
STRUCTURAL: FOUNDATION PLAN |  |  | COMMENTS
| TITLE BLOCK, INCLUDING DESIGNER CONTACT INFO AND PROJECT DATA | R106.1.1
SCALE
SECTION AND DETAIL REFERENCES
WALLS DIMENSIONED
WALL TYPES HATCHED AND DESCRIBED
PROJECTION OF FOOTINGS INDICATED WITH DASHED LINE
PIER & FIREPLACE FOOTINGS & BEAMS/COLUMNS/POSTS DESCRIBED AND DIMENSIONED
RADON VENT INDICATED
WINDOW & DOOR OPENINGS DIMENSIONED
OTHER OPENINGS AND SLEEVES
SILL ANCHORAGE DESCRIBED
PLUMBING FIXTURES INDICATED & DIMENSIONED
BRICK LEDGE NOTED
STRUCTURAL: FLOOR FRAMING PLANS |  |  | COMMENTS
| TITLE BLOCK, INCLUDING DESIGNER CONTACT INFO AND PROJECT DATA | R106.1.1
SCALE
SECTION REFERENCES
WALL BELOW INDICATED
BEAMS & HEADERS INDICATED
BEAMS & HEADERS NOTED WHETHER DROPPED OR FLUSH
POSTS @LOADS FROM ABOVE NOTED
JOIST SPACING NOTED
JOIST MATERIAL NOTED
OPENINGS AND INTERSTITIAL SPACES NOTED
STRUCTURAL: ROOF FRAMING PLANS |  |  | COMMENTS
| TITLE BLOCK, INCLUDING DESIGNER CONTACT INFO AND PROJECT DATA | R106.1.1
SCALE
SECTION REFERENCES
WALL BELOW INDICATED
BEAMS & HEADERS INDICATED
BEAMS & HEADERS NOTED WHETHER DROPPED OR FLUSH
POSTS @LOADS FROM ABOVE NOTED
RAFTER/TRUSS SPACING NOTED
RAFTER MATERIAL NOTED
OPENINGS AND INTERSTITIAL SPACES NOTED
LATERAL BRACING INDICATED
STRUCTURAL: BRACED WALL ANALYSIS |  |  | COMMENTS
| TITLE BLOCK, INCLUDING DESIGNER CONTACT INFO AND PROJECT DATA | R106.1.1
LABELED & KEYED BRACED WALL DIAGRAM (PLAN)
BRACED WALL CHART
STRUCTURAL: ENGINEER'S SPECIFICATIONS |  |  | COMMENTS
| TITLE BLOCK, INCLUDING DESIGNER CONTACT INFO AND PROJECT DATA | R106.1.1
DESIGN LOADS
DESIGN VALUES OF MATERIALS
ELECTRICAL PLANS |  |  | COMMENTS
| TITLE BLOCK, INCLUDING DESIGNER CONTACT INFO AND PROJECT DATA | R106.1.1
SCALE
SERVICE ENTRANCE FEATURES
CONVENIENCE OUTLETS TO CODE
SPECIALTY OUTLETS
FIXED APPLIANCES AND EQUIPMENT
SWITCHING
AREA LIGHTING
STAIRWAY LIGHTING
EXTERIOR DOOR LIGHTING
DEVICE/FIXTURE LEGEND
SMOKE & CO ALARMS