GENERAL CONDITIONS

OF THE

CONSTRUCTION AGREEMENT

- General

  - The Work of the Contract shall consist of all construction materials, labor, equipment and services required by the Drawings, Specifications, and other Contract Documents, or as reasonably inferable from any or all of the Construction Documents.  The Work shall be for the whole or part of the project as described in the Construction Agreement.

  - The Work of the project shall comply in all respects with applicable federal, state, county and/or city regulations, laws and codes.  All required building and other permits shall be obtained before beginning construction.

  - All materials and workmanship shall be equal to the highest standard and shall be to the satisfaction of the Owner.  They shall also be in accordance with current standards of the American Society of Mechanical Engineers, American Society of Testing Materials, The American Water Works Association, The American Institute of Electrical Engineers, The National Board of Fire Underwriters and the American Society of Heating and Ventilating Engineers that apply.

  - Substitution of items will not be permitted unless specifically approved by the Owner and Building Designer.

- Owner

  - The Owner shall furnish the Contractor with a survey of the project site.

  - The Owner shall obtain and pay for the necessary approvals, easements and/or variances required for the construction of the project.

  - If the Contractor fails to complete the Work, or part of the Work, of the Agreement in accordance with the Construction Documents and fails to correct such discrepancies, the Owner may, by written order, stop work on all or part of the project until the cause has been corrected.

  - The Owner reserves the right to occupy the building space, or such portions thereof as may be charged to the Owner by the Contractor if the Owner’s occupancy interferes in any way with the progress of the project.  Additional time for completion of the project may also be required if the Owner’s occupancy hampers the Contractor in any way.

- Contractor

  - The Contractor shall be solely responsible for the Work described in the construction agreement.  He/she shall have complete control over construction methods, techniques and procedures and shall supervise such work with his/her best skill and attention.

  - The Contractor shall pay for all labor, equipment, materials and services required to complete the Work as described in the construction Agreement as well as building permits and other governmental fees, licenses and inspections necessary for the proper completion of the Work.

  - All Contractors and Subcontractors shall be bondable, licensed, and insured contractors and will coordinate their work with that of other contractors so that all work will be in harmony with the other contractors on the project.

  - The contractor warrants to the Owner that all materials and equipment required to complete the work on the project will be of good quality and new, unless otherwise specified, that the work will be in accordance with the contract documents, and that the work will be free of defects in materials and workmanship.

  - The Contractor shall take care in working near existing areas to protect them from damage.  The Contractor shall be responsible for any damage to existing areas and will repair such damage, at his expense, to the Owner’s satisfaction.

  - The Contractor shall keep the project site and surrounding area free from waste materials and rubbish, which results from his work on the project.  Removal, hauling and disposal of rubbish and waste materials shall be the responsibility of the Contractor or as stipulated in the Specifications contained in the Project Manual.

  - The Contractor shall be held responsible for all damages resulting from his/her, or his/her subcontractors, errors, omissions or negligence in the performance of the Work of the Construction Agreement.

  - The Contractor shall hold harmless the Owner from and against all claims, damages, losses, expenses, legal fees or other costs resulting from the Contractor’s performance of the Work of the Construction Agreement.

  - The Contractor shall provide the Owner access to the Work.

- Subcontractors

  - The Contractor shall select the subcontractors, except that he/she shall not use subcontractors to whom the Owner has a reasonable objection.  The Contractor shall not be required to use a subcontractor to whom he/she has a reasonable objection.

- Disputes

  - Any claims or disputes between the Contractor and the Owner arising from this Agreement shall be resolved by arbitration in accordance with the Construction Industry Arbitration Rules of the American Arbitration Association apply unless both parties agree otherwise.

- Work by Other Contractor(s)

  - All contractors and subcontractors shall work in harmony with others on the project and shall afford the Owner and other subcontractors reasonable opportunity for the storage of materials and equipment.

- Changes

  - Changes, modifications, additions and/or deletions to the Work under this agreement will only be made by written Change Order signed by the Owner and the Contractor.  Any such changes will not invalidate this Agreement.  The time for project completion and the project cost will be adjusted accordingly.

- Time

  - If at any time the Contractor is delayed in performing the work under this agreement by Owner-requested changes, labor disputes, fire or other circumstances over which the Contractor has no control, the contract time shall be extended by the same amount of time as was caused by the delay.

- Payments

  - Payments will be made by the Owner to the Contractor as stipulated in the Construction Agreement.

  - Payments may be withheld because of any of the following conditions: Defective work not corrected; Failure of the Contractor to make payments to subcontractors or for materials, labor, equipment or services; Continued failure to perform the work in accordance with the terms and conditions set forth in the Construction Agreement; Legal or other claims by third parties relating to the work performed under the Agreement.

  - Final payment shall become due when the Work of the Construction Agreement is completed in accordance with the Construction Documents.

- Insurance

  - The contractor shall furnish the Owner with the following certificates of insurance in the amounts indicated or other amounts as required by law, whichever is greater:  Workmen’s Compensation Insurance in the amount of not less than $500,000 each occurrence and $500,000 aggregate for bodily injury including Personal Injury; Property Damage in not less than $100,000; Comprehensive Automobile Liability in the amount of not less than $250,000 each person, $500,000 each occurrence, and Property Damage in the amount of $100,000 each accident.

  - The Owner shall maintain property insurance for the project to it’s full insurable value.  This insurance shall include the interests of the bank, or other mortgage holder, if any, and the Owner, and shall insure against “all risks” of physical loss or damage.

- Termination of the Agreement

  - If the Owner fails to make payment under the terms of the Agreement, through no fault of the Contractor, the Contractor may, upon seven (7) days written notice to the Owner, terminate the contract.  The Owner shall pay for work completed and any proven loss with respect to materials, equipment and machinery and reasonable profit applicable to the work under this Agreement.

  - If the Contractor fails to carry out the work in accordance with the agreement and other construction documents, the Owner, upon seven (7) days written notice to the Contractor, terminate the contract, and finish the work by whatever method the Owner determines.  If the cost of completing the work exceeds the balance due under this agreement, the difference is to be paid to the Owner by the Contractor.

- Jurisdiction

  - This agreement shall be governed by the laws of the place where the project is located.

This agreement entered into this_______day of _________________________, 20_____.

____________________________________   __________________________________

Signature of Owner					Signature of Contractor